X-ray Diffractometer  (XRD) Facility

Empyrean, Malvern Panalytical

The 3rd generation Empyrean, Malvern Panalytical multipurpose diffractometer with MultiCore Optics is capable of a large variety of measurements from powders to thin films, from nanomaterials to solid objects - on a single instrument, without much manual intervention.

X-Ray sources: Cu Kα (λ = 1.54 Å) (default) and Mo Kα (λ = 0.71 Å) (on request)

Techniques:

1. Rapid powder X-ray diffraction (PXRD): Powder XRD done at standard angular resolutions is rapid and gives precise data with high intensity peaks. Very high angular resolution scans are also possible. Sample type: powder, metallic, thin films, liquid and polymer samples

2. Grazing incidence X-ray diffraction (GIXRD) for thin films: Grazing incidence x-ray diffraction is used to find the thickness of thin crystalline films (20-200nm depending on mean atomic number) on polished, flat surfaces. It is possible to deal with multiple films to a limited extent

3.  2D scan to view the diffraction patterns in two dimensional texture analysis using pole figures for metallic samples

Software packages:

Data collector		- to collect the XRD spectrum

Data viewer 		- to visualize the XRD spectrum

X’Pert Highscoreplus – processing of XRD spectrum, Profile fitting, Williamson Hall plots and

Rietveld refinements

X’pert texture		 – for texture analysis using pole diagrams.

XRD 2D scan 	– to visualize the patterns in 2D.

PDF-2 			– Crystallographic database

Charges for XRD analysis:

|  | Analysis charges (Rs)* |
| --- | --- |
| Analysis mode | Internal (PSG Institutions) | External (Educational and research Institutions) | Industry |
| Powder XRD (PXRD) | 200 | 300 | 500 |
| Grazing Incidence XRD (GIXRD) | 300 | 500 | 1000 |
| Peak fitting/others, per sample | 25 | 50 | 100 |

*GST@18% will be added extra